
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and apply Pinnacle PRJ aluminum roof joint cover system designed to provide a durable and watertight transition wherever exterior wall seals are installed, ensuring long-term structural integrity and weather resistance. The PRJ system incorporates custom, factory-made transitions to maintain continuous watertight performance across complex roof interfaces. The turnbar assembly is manufactured from high-grade stainless steel with an “A” anti-corrosion coating, ensuring superior durability in exterior environments. The system includes a Duroflex gasket, formulated in accordance with ASTM D2000 and rated at 80 Shore A, supplied in black for optimal UV resistance. A secondary EPDM vapor barrier, also in black, provides additional protection against moisture infiltration and environmental exposure. Primary aluminum components are manufactured using extruded aluminum alloys 6063-T5/T6/T52; 6061-T5/T6/T51; 6105-T5/T6; 6005-T5; and 6005A-T5/T61, complying with ASTM B221, while sheet elements are produced from AA1100/1200, 19000 M, 19000 H2, 31000 H2, and 31000 H3, meeting IS 737 and ASTM B209 standards for corrosion resistance and formability. The PRJ roof joint cover system is engineered to accommodate ±50% movement, ensuring reliable performance under thermal and seismic building activity.

	 PRJ & PRJW

	100-450mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

