
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply & Apply of PJPI which is a flush metal floor to floor cover is for interior or exterior applications where smaller seismic movement may occur. The self-centering aluminium centre plate remains flush during thermal movement, and temporarily displaces and slides over the top frame during seismic movement.

• Extrusion: (6063-T5, T6, T52) ASTM B221

• Sheet – 19000 M, 19000 H2, 31000 H2, 31000 H3, 1100/1200, As per IS 737/ ASTM B209

Floor-to-Floor Joint Systems:  

1. Type: Cover Plate

2. Load Capacity: Standard Duty (500lbs)

3. Attachment Method: Mechanical anchors.

4. Moisture Barrier: EPDM Sheet

5. Turn bar: Stainless steel Turn Bar
	PJPI & PJPIW

	50-400mm


	 [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

