
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and install the Pinnacle PFBI surface-mounted aluminum floor expansion joint cover system for interior applications. The system provides durable joint coverage with a clean architectural appearance and is suitable for various floor finishes. Frames shall be manufactured from extruded aluminum alloys conforming to ASTM B221, and sheet components shall conform to ASTM B209.The system incorporates a steel turnbar with corrosion-resistant coating and aluminum side frames fixed on both sides of the joint. It is suitable for joint widths from 25 mm to 50 mm (1" to 2"), with custom sizes available upon request. Installation shall be as per manufacturer’s recommendations and approved shop drawings.


	PFBI & PFBIW

	 50-200mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

