
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Provide and install Pinnacle PSF-X Series exterior seal cover system designed for vertical wall and ceiling joints requiring reliable weather protection and multi-directional movement. The system shall consist of aluminium extrusions in 6063-T5, 6061 T5 (ASTM B221), with a Santoprene/TPV primary seal available in standard or custom colors. A secondary extruded elastomeric seal shall be included for enhanced moisture protection. All corners, miters, and directional changes shall be factory-fabricated and heat-welded. The system shall accommodate ±50% movement across all joint gap sizes as per TDS and, where required, may be provided with a fire-resistant assembly rated equal to the adjacent construction. The basis-of-design product is Pinnacle Model PSF-X – Flat Seal Type.

	PSF-X

	50-500mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

